## README
Calibration factors for a given date. The formula for the conversion is
(accelerometer_reading + offset)/scale
Acclerometers are converted to g's
Pressure is converted to psi

## bluedrop_1
Sensor | March_2023_offset | March_2023_scale
2g_accel | -43727.6 | 1625064
18g_accel | -45085.6 | 160925.7
50g_accel | -173493.4 | 63944.6
200g_accel | -731734.3 | 32192.4
250g_accel | 10580 | 13688.7
55g_x_tilt | -68837.9 | 52137.3
55g_y_tilt | -68015.9 | 28074.9
pore_pressure | 31776.1 | 20679.7

## bluedrop_2
Sensor | March_2023_offset | March_2023_scale
2g_accel | 36597.6 | 1637627.3
18g_accel | -26185.3 | 160297.2
50g_accel | -212256.9 | 63968.7
200g_accel | -175499.4 | 30583.8
250g_accel | -39619.9 | 13545.8
55g_x_tilt | -53629.9 | 68590.9
55g_y_tilt | -43694.3 | 68280.3
pore_pressure | 55518.9 | 18981.7

## bluedrop_3
Sensor | Sequim_2021_offset | Sequim_2021_scale
2g_accel | -34426.5 | 1615925.8
18g_accel | 12322.1 | 163530.7
50g_accel | -244513.8 | 63651
200g_accel | -262332.4 | 38888.7
250g_accel | -40536.1 | 13631.6
55g_x_tilt | -59093.7 | 66674.3
55g_y_tilt | -140224.6 | 66674.3
pore_pressure | -51617.54 | 20705

## bluedrop_9
Sensor | October_2023_offset | October_2023_scale
2g_accel | -17196.9 | 1626262.4
18g_accel | 27399.6 | 159870.4
50g_accel | -246643.4 | 63690.9
200g_accel | 16353.5 | 27604.8
250g_accel | -8819.9 | 13630.9
55g_x_tilt | -16510 | 65260.8
55g_y_tilt | 71742.6 | 65778.7
pore_pressure | 17912.7 | 20278.7

## copy
Sensor | October_2023_offset | October_2023_scale
2g_accel | 17196.9 | 1626262.4
18g_accel | -27399.6 | 159870.4
50g_accel | 246643.4 | 63690.9
200g_accel | -16353.5 | 27604.8
250g_accel | 8819.9 | 13630.9
55g_x_tilt | 16510 | 65260.8
55g_y_tilt | -71742.6 | 65778.7
pore_pressure | -17912.7 | 20278.7
| -17196.9 | -1626262.4
| 27399.6 | -159870.4
| -246643.4 | -63690.9
| 16353.5 | -27604.8
| -8819.9 | -13630.9
| -16510 | -65260.8
| 71742.6 | -65778.7
| 17912.7 | -20278.7